- NEWTON LANDFILL SAMPLING INFORMATION

In accordance with the Newton Landfill Certificate of Approval (6802-7HUNBQ), leachate is collected and discharged to the City of Cambridge Wastewater Collection System and transported for treatment at the Region of Waterloo Galt Wastewater Treatment Plant.

Sampling takes place in Manhole SM20467 prior to discharge to the sanitary sewer to determine and document the chemical characterization of the leachate generated and is performed quarterly as per the City’s Operation & Maintenance Plan for the site.

Samples are collected and analyzed by the Region of Waterloo Environmental Enforcement and Laboratory Services (EELS) staff under the Old Galt Landfill Sampling Agreement. Reports are shared with the City of Cambridge by EELS and cover a full range of organics and inorganics. Results are then compared with the Region of Waterloo Sewer By-Law Maximum Available Concentrations (MAC’s) and aim to be below the listed MAC’s.

- NEWTON LANDFILL SAMPLING LOCATION

- QUARTERLY SAMPLING RESULTS & YEARLY AVERAGES

| Timeframe |  | Alkalinity as CaCO3 (mg/l) | Arsenic (mg/l) | Barium (mg/l) | Boron (mg/l) | Calcium (mg/l) | Cadmium (mg/l) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | MAC (---) | MAC (1.00) | MAC (---) | MAC (---) | MAC (---) | MAC (0.50) |
| 2020 | Q1 | 446 | <0.0100 | 0.310 | 0.129 | 186 | <0.0100 |
| 2020 | Q2 | 493 | <0.0100 | 0.311 | 0.150 | 186 | <0.0100 |
| 2020 | Q3 | 422 | <0.0100 | 0.305 | 0.135 | 183 | <0.0100 |
| 2020 | Q4 | 452 | 0.0135 | 0.415 | 0.136 | 193 | <0.0100 |
| 2020 |  | 453 | <0.0109 | 0.335 | 0.138 | 187 | <0.0100 |
| 2021 | Q1 | 523 | 0.0589 | 1.140 | 0.146 | 196 | <0.0100 |
| 2021 | Q2 | 465 | <0.0100 | 0.375 | 0.143 | 173 | <0.0100 |
| 2021 | Q3 | 356 | <0.0100 | 0.339 | 0.120 | 175 | <0.0100 |
| 2021 | Q4 | 441 | <0.0100 | 0.342 | 0.108 | 172 | <0.0100 |
| 2021 |  | 446 | <0.0222 | 0.549 | 0.129 | 179 | <0.0100 |
| 2022 | Q1 | 464 | <0.0100 | 0.325 | 0.168 | 176 | <0.0100 |
| 2022 | Q2 | 446 | <0.0100 | 0.339 | 0.159 | 180 | <0.0100 |
| 2022 | Q3 | 439 | <0.0100 | 0.317 | 0.150 | 169 | <0.0100 |
| 2022 | Q4 | 399 | <0.0100 | 0.383 | 0.221 | 170 | <0.0100 |
| 2022 |  | 437 | <0.0100 | 0.341 | 0.175 | 174 | <0.0100 |
| 2023 | Q1 | 467 | 0.0205 | 0.498 | 0.147 | 180 | <0.0100 |
| 2023 | Q2 | 465 | <0.0100 | 0.321 | 0.166 | 173 | <0.0100 |
| 2023 | Q3 | 464 | <0.0100 | 0.349 | 0.182 | 180 | <0.0100 |
| 2023 | Q4 | 486 | <0.0100 | 0.318 | 0.156 | 176 | <0.0100 |
| 2023 |  | 471 | <0.0126 | 0.372 | 0.163 | 177 | <0.0100 |
| 2024 | Q1 | 473 | <0.0100 | 0.309 | 0.167 | 183 | <0.0100 |
| 2024 | Q2 | 503 | <0.0100 | 0.334 | 0.174 | 182 | <0.0100 |
| 2024 | Q3 | 468 | <0.0100 | 0.318 | 0.170 | 182 | <0.0100 |
| 2024 | Q4 | 478 | <0.0100 | 0.317 | 0.176 | 182 | <0.0100 |
| 2024 |  | 481 | <0.0100 | 0.320 | 0.172 | 182 | <0.0100 |
| 2025 | Q1 | 473 | 0.0318 | 0.919 | 0.224 | 192 | <0.0100 |
| 2025 | Q2 | 532 | 0.0608 | 1.080 | 0.228 | 194 | <0.0100 |
| 2025 | Q3 | 499 | <0.0100 | 0.362 | 0.156 | 181 | <0.0100 |
| 2025 | Q4 | 462 | <0.0100 | 0.360 | 0.155 | 177 | <0.0100 |
| 2025 |  | 492 | <0.0282 | 0.680 | 0.191 | 186 | <0.0100 |

| Timeframe |  | Chloride (mg/l) | Conductivity (µmhos/cm) | Cobalt (mg/l) | Chromium (mg/l) | Copper (mg/l) | Iron (mg/l) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | MAC (1500) | MAC (---) | MAC (5.00) | MAC (2.80) | MAC (2.00) | MAC (50.0) |
| 2020 | Q1 | 237 | 1660 | <0.0100 | <0.0100 | <0.0100 | 12.4 |
| 2020 | Q2 | 253 | 1640 | <0.0100 | <0.0100 | <0.0100 | 12.2 |
| 2020 | Q3 | 276 | 1660 | <0.0100 | <0.0100 | <0.0100 | 11.6 |
| 2020 | Q4 | 240 | 1670 | <0.0100 | <0.0100 | <0.0100 | 47.8 |
| 2020 |  | 252 | 1658 | <0.0100 | <0.0100 | <0.0100 | 21.0 |
| 2021 | Q1 | 272 | 1730 | <0.0100 | <0.0100 | <0.0100 | 252.0 |
| 2021 | Q2 | 318 | 1880 | <0.0100 | <0.0100 | <0.0100 | 29.9 |
| 2021 | Q3 | 324 | 1900 | <0.0100 | <0.0100 | <0.0100 | 8.6 |
| 2021 | Q4 | 303 | 1720 | <0.0100 | <0.0100 | <0.0100 | 19.3 |
| 2021 |  | 304 | 1808 | <0.0100 | <0.0100 | <0.0100 | 77.5 |
| 2022 | Q1 | 291 | 1760 | <0.0100 | <0.0100 | <0.0100 | 12.5 |
| 2022 | Q2 | 292 | 1720 | <0.0100 | <0.0100 | <0.0100 | 18.2 |
| 2022 | Q3 | 305 | 1840 | <0.0100 | <0.0100 | <0.0100 | 10.0 |
| 2022 | Q4 | 339 | 1800 | <0.0100 | <0.0100 | <0.0100 | 35.6 |
| 2022 |  | 307 | 1780 | <0.0100 | <0.0100 | <0.0100 | 19.1 |
| 2023 | Q1 | 324 | 1840 | <0.0100 | <0.0100 | <0.0100 | 85.5 |
| 2023 | Q2 | 292 | 1840 | <0.0100 | <0.0100 | <0.0100 | 13.4 |
| 2023 | Q3 | 317 | 1820 | <0.0100 | <0.0100 | <0.0100 | 16.6 |
| 2023 | Q4 | 319 | 1870 | <0.0100 | <0.0100 | <0.0100 | 12.2 |
| 2023 |  | 313 | 1843 | <0.0100 | <0.0100 | <0.0100 | 31.9 |
| 2024 | Q1 | 308 | 1790 | <0.0100 | <0.0100 | <0.0100 | 10.6 |
| 2024 | Q2 | 292 | 1810 | <0.0100 | <0.0100 | <0.0100 | 13.9 |
| 2024 | Q3 | 311 | 1820 | <0.0100 | <0.0100 | <0.0100 | 11.6 |
| 2024 | Q4 | 317 | 1790 | <0.0100 | <0.0100 | <0.0100 | 10.6 |
| 2024 |  | 307 | 1803 | <0.0100 | <0.0100 | <0.0100 | 11.7 |
| 2025 | Q1 | 319 | 1820 | <0.0100 | <0.0100 | <0.0100 | 188.0 |
| 2025 | Q2 | 281 | 1820 | <0.0100 | <0.0100 | <0.0100 | 252.0 |
| 2025 | Q3 | 310 | 1870 | <0.0100 | <0.0100 | <0.0100 | 20.5 |
| 2025 | Q4 | 323 | 1760 | <0.0100 | <0.0100 | <0.0100 | 21.5 |
| 2025 |  | 308 | 1818 | <0.0100 | <0.0100 | <0.0100 | 120.5 |

| Timeframe |  | Magnesium (mg/l) | Hardness as CaCO3 (mg/l) | Potassium (mg/l) | Manganese (mg/l) | Molybdenum (mg/l) | Sodium (mg/l) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | MAC (---) | MAC (---) | MAC (---) | MAC (5.00) | MAC (5.00) | MAC (---) |
| 2020 | Q1 | 47.0 | - | 6.11 | 0.588 | <0.0100 | 83.9 |
| 2020 | Q2 | 47.6 | 659 | 7.09 | 0.593 | <0.0100 | 88.1 |
| 2020 | Q3 | 48.4 | 657 | 5.67 | 0.581 | <0.0100 | 94.7 |
| 2020 | Q4 | 49.4 | 686 | 8.10 | 0.625 | <0.0100 | 101.0 |
| 2020 |  | 48.1 | 667* | 6.74 | 0.597 | <0.0100 | 91.9 |
| 2021 | Q1 | 45.5 | 676 | 5.81 | 0.668 | <0.0100 | 96.3 |
| 2021 | Q2 | 44.0 | 614 | 5.36 | 0.562 | <0.0100 | 98.9 |
| 2021 | Q3 | 49.3 | 639 | 5.68 | 0.621 | <0.0100 | 121.0 |
| 2021 | Q4 | 43.1 | 608 | 5.14 | 0.523 | <0.0100 | 103.0 |
| 2021 |  | 45.5 | 634 | 5.50 | 0.594 | <0.0100 | 104.8 |
| 2022 | Q1 | 45.2 | 626 | 5.89 | 0.587 | <0.0100 | 109.0 |
| 2022 | Q2 | 45.1 | 636 | 6.09 | 0.590 | <0.0100 | 108.0 |
| 2022 | Q3 | 43.8 | 603 | 5.27 | 0.551 | <0.0100 | 112.0 |
| 2022 | Q4 | 44.6 | 609 | 5.40 | 0.556 | <0.0100 | 120.0 |
| 2022 |  | 44.7 | 619 | 5.66 | 0.571 | <0.0100 | 112.3 |
| 2023 | Q1 | 45.3 | 637 | 6.03 | 0.615 | <0.0100 | 119.0 |
| 2023 | Q2 | 42.3 | 605 | 6.25 | 0.615 | <0.0100 | 110.0 |
| 2023 | Q3 | 46.2 | 641 | 6.95 | 0.581 | <0.0100 | 124.0 |
| 2023 | Q4 | 46.1 | 629 | 6.50 | 0.584 | <0.0100 | 124.0 |
| 2023 |  | 45.0 | 628 | 6.43 | 0.599 | <0.0100 | 119.3 |
| 2024 | Q1 | 45.4 | 644 | 8.91 | 0.576 | <0.0100 | 122.0 |
| 2024 | Q2 | 45.6 | 643 | 8.71 | 0.606 | <0.0100 | 117.0 |
| 2024 | Q3 | 46.5 | 645 | 5.81 | 0.551 | <0.0100 | 116.0 |
| 2024 | Q4 | 47.2 | 648 | 9.26 | 0.638 | <0.0100 | 124.0 |
| 2024 |  | 46.2 | 645 | 8.17 | 0.593 | <0.0100 | 120.0 |
| 2025 | Q1 | 44.5 | 664 | 7.18 | 0.709 | <0.0100 | 121.0 |
| 2025 | Q2 | 43.1 | 661 | 7.65 | 0.704 | <0.0100 | 112.0 |
| 2025 | Q3 | 43.0 | 629 | 6.81 | 0.637 | <0.0100 | 123.0 |
| 2025 | Q4 | 44.4 | 624 | 6.32 | 0.648 | <0.0100 | 132.0 |
| 2025 |  | 43.8 | 645 | 6.99 | 0.675 | <0.0100 | 122.0 |

* No Hardness (as CaCO3) sample recorded for 2020 Q1, average based off of Q2-Q4

| Timeframe |  | Nickel (mg/l) | Nitrate-N (mg/l) | Nitrite-N (mg/l) | Lead (mg/l) | Selenium (mg/l) | Sulphate (mg/l) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | MAC (2.00) | MAC (---) | MAC (---) | MAC (1.00) | MAC (1.00) | MAC (1500) |
| 2020 | Q1 | <0.0100 | 0.938 | 0.010 | <0.0100 | <0.0100 | 37.5 |
| 2020 | Q2 | <0.0100 | 0.820 | <0.010 | <0.0100 | <0.0100 | 32.3 |
| 2020 | Q3 | <0.0100 | 0.840 | 0.011 | <0.0100 | <0.0100 | 35.1 |
| 2020 | Q4 | <0.0100 | 0.767 | <0.010 | <0.0100 | <0.0100 | 35.8 |
| 2020 |  | <0.0100 | 0.841 | <0.010 | <0.0100 | <0.0100 | 35.2 |
| 2021 | Q1 | <0.0100 | 0.977 | 0.024 | <0.0100 | <0.0100 | 39.2 |
| 2021 | Q2 | <0.0100 | 0.994 | 0.010 | <0.0100 | <0.0100 | 37.7 |
| 2021 | Q3 | <0.0100 | 0.987 | <0.010 | <0.0100 | <0.0100 | 40.4 |
| 2021 | Q4 | <0.0100 | 0.811 | <0.010 | <0.0100 | <0.0100 | 37.7 |
| 2021 |  | <0.0100 | 0.942 | <0.014 | <0.0100 | <0.0100 | 38.8 |
| 2022 | Q1 | <0.0100 | 0.676 | 0.012 | <0.0100 | <0.0100 | 34.8 |
| 2022 | Q2 | <0.0100 | 0.662 | <0.010 | <0.0100 | <0.0100 | 32.0 |
| 2022 | Q3 | <0.0100 | 0.503 | <0.010 | <0.0100 | <0.0100 | 36.1 |
| 2022 | Q4 | <0.0100 | 0.615 | <0.010 | <0.0100 | <0.0100 | 37.5 |
| 2022 |  | <0.0100 | 0.614 | <0.010 | <0.0100 | <0.0100 | 35.1 |
| 2023 | Q1 | <0.0100 | 0.493 | <0.100 | <0.0100 | <0.0100 | 37.4 |
| 2023 | Q2 | <0.0100 | 0.100 | <0.0100 | <0.0100 | <0.0100 | 36.2 |
| 2023 | Q3 | <0.0100 | 0.267 | 0.012 | <0.0100 | <0.0100 | 35.8 |
| 2023 | Q4 | <0.0100 | 0.593 | 0.011 | <0.0100 | <0.0100 | 35.3 |
| 2023 |  | <0.0100 | 0.363 | <0.033 | <0.0100 | <0.0100 | 36.2 |
| 2024 | Q1 | <0.0100 | 0.654 | 0.018 | <0.0100 | <0.0100 | 36.9 |
| 2024 | Q2 | <0.0100 | 0.587 | <0.010 | <0.0100 | <0.0100 | 33.9 |
| 2024 | Q3 | <0.0100 | 0.624 | 0.012 | <0.0100 | <0.0100 | 34.1 |
| 2024 | Q4 | <0.0100 | 0.563 | <0.010 | <0.0100 | <0.0100 | 34.5 |
| 2024 |  | <0.0100 | 0.607 | <0.013 | <0.0100 | <0.0100 | 34.9 |
| 2025 | Q1 | <0.0100 | 0.358 | 0.028 | <0.0100 | <0.0100 | 34.2 |
| 2025 | Q2 | <0.0100 | <0.100 | <0.010 | <0.0100 | <0.0100 | 32.2 |
| 2025 | Q3 | <0.0100 | <0.100 | <0.010 | <0.0100 | <0.0100 | 35.4 |
| 2025 | Q4 | <0.0100 | <0.100 | <0.010 | <0.0100 | <0.0100 | 36.7 |
| 2025 |  | <0.0100 | <0.165 | <0.015 | <0.0100 | <0.0100 | 34.6 |

| Timeframe |  | (meta+para) -Xylene (µg/l) | 1,1,1,2- Tetrachloroethane (µg/l) | 1,1,2,2- Tetrachloroethane (µg/l) | 1,1,1- Trichloroethane (µg/l) | 1,1,2- Trichloroethane (µg/l) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | MAC (---) | MAC (---) | MAC (1400) | MAC (---) | MAC (---) |
| 2020 | Q1 | <2.10 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2020 | Q2 | 3.15 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2020 | Q3 | 1.78 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2020 | Q4 | <2.10 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2020 |  | <2.28 | <0.91 | <0.91 | <0.91 | <0.91 |
| 2021 | Q1 | <4.20 | <2.10 | <2.10 | <2.10 | <2.10 |
| 2021 | Q2 | <2.10 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2021 | Q3 | <2.10 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2021 | Q4 | <2.10 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2021 |  | <2.63 | <1.31 | <1.31 | <1.31 | <1.31 |
| 2022 | Q1 | <2.10 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 | Q2 | <2.10 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 | Q3 | <2.10 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 | Q4 | <2.10 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 |  | <2.10 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q1 | <2.10 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q2 | <2.10 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q3 | 2.16 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q4 | <1.00 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2023 |  | <1.84 | <0.91 | <0.91 | <0.91 | <0.91 |
| 2024 | Q1 | <2.10 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2024 | Q2 | <1.00 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2024 | Q3 | <1.00 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2024 | Q4 | <1.00 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2024 |  | <1.28 | <0.64 | <0.64 | <0.64 | <0.64 |
| 2025 | Q1 | 3.36 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2025 | Q2 | <2.10 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2025 | Q3 | <1.00 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2025 | Q4 | <2.10 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2025 |  | <2.14 | <0.91 | <0.91 | <0.91 | <0.91 |

| Timeframe |  | 1,1- Dichloroethane (µg/l) | 1,1- Dichloroethylene (µg/l) | 1,2- Dibromoethane (µg/l) | 1,2- Dichlorobenzene (µg/l) | 1,2- Dichloroethane (µg/l) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | MAC (---) | MAC (---) | MAC (---) | MAC (50.00) | MAC (---) |
| 2020 | Q1 | 1.07 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2020 | Q2 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2020 | Q3 | 1.15 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2020 | Q4 | 1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2020 |  | <1.08 | <0.91 | <0.91 | <0.91 | <0.91 |
| 2021 | Q1 | <2.10 | <2.10 | <2.10 | <2.10 | <2.10 |
| 2021 | Q2 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2021 | Q3 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2021 | Q4 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2021 |  | <1.31 | <1.31 | <1.31 | <1.31 | <1.31 |
| 2022 | Q1 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 | Q2 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 | Q3 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 | Q4 | 1.31 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 |  | <1.115 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q1 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q2 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q3 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q4 | <0.50 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2023 |  | <0.91 | <0.91 | <0.91 | <0.91 | <0.91 |
| 2024 | Q1 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2024 | Q2 | 0.55 | <0.50 | <0.50 | 0.56 | <0.50 |
| 2024 | Q3 | <0.50 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2024 | Q4 | 0.59 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2024 |  | <0.68 | <0.64 | <0.64 | <0.65 | <0.64 |
| 2025 | Q1 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2025 | Q2 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2025 | Q3 | <0.50 | <0.50 | <0.50 | 0.51 | <0.50 |
| 2025 | Q4 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2025 |  | <0.91 | <0.91 | <0.91 | <0.91 | <0.91 |

| Timeframe |  | 1,2- Dichloropropane (µg/l) | 1,3- Dichlorobenzene (µg/l) | 1,4- Dichlorobenzene (µg/l) | 2- Chloroethylviynl (µg/l) | ether | 2-Hexanone (µg/l) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | MAC (---) | MAC (---) | MAC (80.00) | MAC (---) |  | MAC (---) |
| 2020 | Q1 | <1.05 | <1.05 | 1.32 | <10.5 |  | <10.5 |
| 2020 | Q2 | <1.05 | <1.05 | 1.53 | <10.5 |  | <10.5 |
| 2020 | Q3 | <0.50 | <0.50 | 1.41 | <5.0 |  | <5.0 |
| 2020 | Q4 | <1.05 | <1.05 | 1.28 | <10.5 |  | <10.5 |
| 2020 |  | <0.91 | <0.91 | 1.39 | <9.1 |  | <9.1 |
| 2021 | Q1 | <2.10 | <2.10 | <2.10 | <21.0 |  | <21.0 |
| 2021 | Q2 | <1.05 | <1.05 | 1.25 | <10.5 |  | <10.5 |
| 2021 | Q3 | <1.05 | <1.05 | <1.05 | <10.5 |  | <10.5 |
| 2021 | Q4 | <1.05 | <1.05 | <1.05 | <10.5 |  | <10.5 |
| 2021 |  | <1.31 | <1.31 | <1.36 | <13.1 |  | <13.1 |
| 2022 | Q1 | <1.05 | <1.05 | 1.31 | <10.5 |  | <10.5 |
| 2022 | Q2 | <1.05 | <1.05 | 1.39 | <10.5 |  | <10.5 |
| 2022 | Q3 | <1.05 | <1.05 | 1.08 | <10.5 |  | <10.5 |
| 2022 | Q4 | <1.05 | <1.05 | <1.05 | <10.5 |  | <10.5 |
| 2022 |  | <1.05 | <1.05 | <1.21 | <10.5 |  | <10.5 |
| 2023 | Q1 | <1.05 | <1.05 | 1.32 | <10.5 |  | <10.5 |
| 2023 | Q2 | <1.05 | 1.44 | 1.42 | <10.5 |  | <10.5 |
| 2023 | Q3 | <1.05 | <1.05 | 1.52 | <10.5 |  | <10.5 |
| 2023 | Q4 | <0.50 | <0.50 | 1.36 | <5.0 |  | <5.0 |
| 2023 |  | <0.91 | <1.01 | 1.41 | <9.1 |  | <9.1 |
| 2024 | Q1 | <1.05 | <1.05 | 1.62 | <10.5 |  | <10.5 |
| 2024 | Q2 | <0.50 | <0.50 | 1.60 | <5.0 |  | <5.0 |
| 2024 | Q3 | <0.50 | <0.50 | 1.29 | <5.0 |  | <5.0 |
| 2024 | Q4 | <0.50 | <0.50 | 1.41 | <5.0 |  | <5.0 |
| 2024 |  | <0.64 | <0.64 | 1.48 | <6.4 |  | <6.4 |
| 2025 | Q1 | <1.05 | <1.05 | 1.52 | <10.5 |  | <10.5 |
| 2025 | Q2 | <1.05 | <1.05 | 2.24 | <10.5 |  | <10.5 |
| 2025 | Q3 | <0.50 | <0.50 | 1.62 | <5.0 |  | <5.0 |
| 2025 | Q4 | <1.05 | 1.43 | 1.41 | <10.5 |  | <10.5 |
| 2025 |  | <0.91 | <1.01 | 1.70 | <9.1 |  | <9.1 |

| Timeframe |  | Acetone (µg/l) | Acrolein (µg/l) | Acrylonitrile (µg/l) | Benzene (µg/l) | Bromodichloromethane (µg/l) | Bromoform (µg/l) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | MAC (---) | MAC (---) | MAC (---) | MAC (10.00) | MAC (---) | MAC (---) |
| 2020 | Q1 | <10.5 | <10.5 | <10.5 | 1.74 | <1.05 | <1.05 |
| 2020 | Q2 | <10.5 | <10.5 | <10.5 | 2.02 | <1.05 | <1.05 |
| 2020 | Q3 | <5.0 | <5.0 | <5.0 | 1.90 | <0.50 | <0.50 |
| 2020 | Q4 | <10.5 | <10.5 | <10.5 | 0.97 | <1.05 | <1.05 |
| 2020 |  | <9.1 | <9.1 | <9.1 | 1.66 | <0.91 | <0.91 |
| 2021 | Q1 | <21.0 | <21.0 | <21.0 | <0.42 | <2.10 | <2.10 |
| 2021 | Q2 | <10.5 | <10.5 | <10.5 | 1.35 | <1.05 | <1.05 |
| 2021 | Q3 | <10.5 | <10.5 | <10.5 | 0.56 | <1.05 | <1.05 |
| 2021 | Q4 | <10.5 | <10.5 | <10.5 | 0.90 | <1.05 | <1.05 |
| 2021 |  | <13.1 | <13.1 | <13.1 | <0.81 | <1.31 | <1.31 |
| 2022 | Q1 | <10.5 | <10.5 | <10.5 | 1.28 | <1.05 | <1.05 |
| 2022 | Q2 | <10.5 | <10.5 | <10.5 | 1.49 | <1.05 | <1.05 |
| 2022 | Q3 | <10.5 | <10.5 | <10.5 | 1.01 | <1.05 | <1.05 |
| 2022 | Q4 | <10.5 | <10.5 | <10.5 | 0.71 | <1.05 | <1.05 |
| 2022 |  | <10.5 | <10.5 | <10.5 | 1.12 | <1.05 | <1.05 |
| 2023 | Q1 | <10.5 | <10.5 | <10.5 | 0.89 | <1.05 | <1.05 |
| 2023 | Q2 | <10.5 | <10.5 | <10.5 | 1.21 | <1.05 | <1.05 |
| 2023 | Q3 | <10.5 | <10.5 | <10.5 | 1.06 | <1.05 | <1.05 |
| 2023 | Q4 | <5.0 | <5.0 | <5.0 | 0.80 | <0.50 | <0.50 |
| 2023 |  | <9.1 | <9.1 | <9.1 | 0.99 | <0.91 | <0.91 |
| 2024 | Q1 | <10.5 | <10.5 | <10.5 | 0.75 | <1.05 | <1.05 |
| 2024 | Q2 | <5.0 | <5.0 | <5.0 | 1.40 | <0.50 | <0.50 |
| 2024 | Q3 | <5.0 | <5.0 | <5.0 | 0.89 | <0.50 | <0.50 |
| 2024 | Q4 | <5.0 | <5.0 | <5.0 | 0.94 | <0.50 | <0.50 |
| 2024 |  | <6.4 | <6.4 | <6.4 | 1.00 | <0.64 | <0.64 |
| 2025 | Q1 | <10.5 | <10.5 | <10.5 | 0.91 | <1.05 | <1.05 |
| 2025 | Q2 | <10.5 | <10.5 | <10.5 | 1.02 | <1.05 | <1.05 |
| 2025 | Q3 | <5.0 | <5.0 | <5.0 | 0.44 | <0.50 | <0.50 |
| 2025 | Q4 | <10.5 | <10.5 | <10.5 | 0.55 | <1.05 | <1.05 |
| 2025 |  | <9.1 | <9.1 | <9.1 | 0.73 | <0.91 | <0.91 |

| Timeframe |  | Bromomethane | Carbon | Carbon | Chlorobenzene | Chloroethane |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | (µg/l) | Disulphide (µg/l) | Tetrachloride (µg/l) | (µg/l) | (µg/l) |
|  |  | MAC (---) | MAC (---) | MAC (---) | MAC (---) | MAC (---) |
| 2020 | Q1 | <1.05 | <10.5 | <0.21 | 2.37 | 4.98 |
| 2020 | Q2 | <1.05 | <10.5 | <0.21 | 3.05 | 3.76 |
| 2020 | Q3 | <0.50 | <5.0 | <0.10 | 2.29 | 5.50 |
| 2020 | Q4 | <1.05 | <10.5 | <0.21 | 2.02 | 4.53 |
| 2020 |  | <0.91 | <9.1 | <0.18 | 2.43 | 4.69 |
| 2021 | Q1 | <2.10 | <21.0 | <0.42 | <2.10 | <2.10 |
| 2021 | Q2 | <1.05 | <10.5 | <0.21 | 2.36 | 3.45 |
| 2021 | Q3 | <1.05 | <10.5 | <0.21 | 2.25 | 4.68 |
| 2021 | Q4 | <1.05 | <10.5 | <0.21 | 1.53 | 3.65 |
| 2021 |  | <1.31 | <13.1 | <0.26 | <2.06 | <3.47 |
| 2022 | Q1 | <1.05 | <10.5 | <0.21 | 2.23 | 4.65 |
| 2022 | Q2 | <1.05 | <10.5 | <0.21 | 2.57 | 4.99 |
| 2022 | Q3 | <1.05 | <10.5 | <0.21 | 1.97 | 3.78 |
| 2022 | Q4 | <1.05 | <10.5 | <0.21 | 1.18 | 2.73 |
| 2022 |  | <1.05 | <10.5 | <0.21 | 1.99 | 4.04 |
| 2023 | Q1 | <1.05 | <10.5 | <0.21 | 1.76 | 2.55 |
| 2023 | Q2 | <1.05 | <10.5 | <0.21 | 1.53 | 2.80 |
| 2023 | Q3 | <1.05 | <10.5 | <0.21 | 2.93 | 2.26 |
| 2023 | Q4 | <0.50 | <5.0 | <0.10 | 1.76 | 2.79 |
| 2023 |  | <0.91 | <9.1 | <0.18 | 1.99 | 2.60 |
| 2024 | Q1 | <1.05 | <10.5 | <0.21 | 1.83 | 1.81 |
| 2024 | Q2 | <0.50 | <5.0 | <0.10 | 2.30 | 4.78 |
| 2024 | Q3 | <0.50 | <5.0 | <0.10 | 2.01 | 2.70 |
| 2024 | Q4 | <0.50 | <5.0 | <0.10 | 2.15 | 3.37 |
| 2024 |  | <0.64 | <6.4 | <0.13 | 2.07 | 3.17 |
| 2025 | Q1 | <1.05 | <10.5 | <0.21 | 2.16 | 2.20 |
| 2025 | Q2 | <1.05 | <10.5 | <0.21 | 2.31 | 2.11 |
| 2025 | Q3 | <0.50 | <5.0 | <0.10 | 1.63 | 2.04 |
| 2025 | Q4 | <1.05 | <10.5 | <0.21 | 1.40 | 1.65 |
| 2025 |  | <0.91 | <9.1 | <0.18 | 1.88 | 2.00 |

| Timeframe |  | Chloroform (µg/l) MAC (40.00) | Chloromethane (µg/l) MAC (---) | Cis-1,2- dichloroethylene (µg/l) MAC (4000) | Cis-1,3- dichloropropylene (µg/l) MAC (---) | Dibromochloromethane (µg/l) MAC (---) |
| --- | --- | --- | --- | --- | --- | --- |
| 2020 | Q1 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2020 | Q2 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2020 | Q3 | <0.50 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2020 | Q4 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2020 |  | <0.91 | <0.91 | <0.91 | <0.91 | <0.91 |
| 2021 | Q1 | <2.10 | <2.10 | <2.10 | <2.10 | <2.10 |
| 2021 | Q2 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2021 | Q3 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2021 | Q4 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2021 |  | <1.31 | <1.31 | <1.31 | <1.31 | <1.31 |
| 2022 | Q1 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 | Q2 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 | Q3 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 | Q4 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 |  | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q1 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q2 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q3 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q4 | <0.50 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2023 |  | <0.91 | <0.91 | <0.91 | <0.91 | <0.91 |
| 2024 | Q1 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2024 | Q2 | <0.50 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2024 | Q3 | <0.50 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2024 | Q4 | <0.50 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2024 |  | <0.64 | <0.64 | <0.64 | <0.64 | <0.64 |
| 2025 | Q1 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2025 | Q2 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2025 | Q3 | <0.50 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2025 | Q4 | <1.05 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2025 |  | <0.91 | <0.91 | <0.91 | <0.91 | <0.91 |

| Timeframe |  | Dichlorodifluoromethane (µg/l) MAC (---) | Dichloromethane (µg/l) MAC (2000) | Ethyl Benzene (µg/l) MAC (160) | Methyl Ethyl Ketone (µg/l) MAC (---) | Methyl Isobutyl Ketone (µg/l) MAC (---) |
| --- | --- | --- | --- | --- | --- | --- |
| 2020 | Q1 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2020 | Q2 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2020 | Q3 | <0.50 | <1.00 | <0.50 | <5.0 | <5.0 |
| 2020 | Q4 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2020 |  | <0.91 | <1.83 | <0.91 | <9.1 | <9.1 |
| 2021 | Q1 | <2.10 | <4.20 | <2.10 | <21.0 | <21.0 |
| 2021 | Q2 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2021 | Q3 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2021 | Q4 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2021 |  | <1.31 | <2.63 | <1.31 | <13.1 | <13.1 |
| 2022 | Q1 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2022 | Q2 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2022 | Q3 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2022 | Q4 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2022 |  | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2023 | Q1 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2023 | Q2 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2023 | Q3 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2023 | Q4 | <0.50 | <1.00 | <0.50 | <5.0 | <5.0 |
| 2023 |  | <0.91 | <1.83 | <0.91 | <9.1 | <9.1 |
| 2024 | Q1 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2024 | Q2 | <0.50 | <1.00 | <0.50 | <5.0 | <5.0 |
| 2024 | Q3 | <0.50 | <1.00 | <0.50 | <5.0 | <5.0 |
| 2024 | Q4 | <0.50 | <1.00 | <0.50 | <5.0 | <5.0 |
| 2024 |  | <0.64 | <1.30 | <0.64 | <6.4 | <6.4 |
| 2025 | Q1 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2025 | Q2 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2025 | Q3 | <0.50 | <1.00 | <0.50 | <5.0 | <5.0 |
| 2025 | Q4 | <1.05 | <2.10 | <1.05 | <10.5 | <10.5 |
| 2025 |  | <0.91 | <1.83 | <0.91 | <9.1 | <9.1 |

| Timeframe |  | Methyl tert-Butyl Ether (µg/l) | ortho-Xylene (µg/l) | Styrene (µg/l) | Tetrachloroethylene (µg/l) | Toluene (µg/l) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | MAC (---) | MAC (---) | MAC (---) | MAC (1000) | MAC (270) |
| 2020 | Q1 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2020 | Q2 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2020 | Q3 | <1.00 | <0.50 | <0.10 | <0.50 | <0.50 |
| 2020 | Q4 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2020 |  | <1.83 | <0.91 | <0.18 | <0.91 | <0.91 |
| 2021 | Q1 | <4.20 | <2.10 | <0.42 | <2.10 | <2.10 |
| 2021 | Q2 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2021 | Q3 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2021 | Q4 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2021 |  | <2.63 | <1.31 | <0.26 | <1.31 | <1.31 |
| 2022 | Q1 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2022 | Q2 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2022 | Q3 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2022 | Q4 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2022 |  | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2023 | Q1 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2023 | Q2 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2023 | Q3 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2023 | Q4 | <1.00 | <0.50 | <0.10 | <0.50 | <0.50 |
| 2023 |  | <1.83 | <0.91 | <0.18 | <0.91 | <0.91 |
| 2024 | Q1 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2024 | Q2 | <1.00 | <0.50 | <0.10 | <0.50 | <0.50 |
| 2024 | Q3 | <1.00 | <0.50 | <0.10 | <0.50 | <0.50 |
| 2024 | Q4 | <1.00 | <0.50 | <0.10 | <0.50 | <0.50 |
| 2024 |  | <1.30 | <0.64 | <0.13 | <0.64 | <0.64 |
| 2025 | Q1 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2025 | Q2 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2025 | Q3 | <1.00 | <0.50 | <0.10 | <0.50 | <0.50 |
| 2025 | Q4 | <2.10 | <1.05 | <0.21 | <1.05 | <1.05 |
| 2025 |  | <1.83 | <0.91 | <0.18 | <0.91 | <0.91 |

| Timeframe |  | Trans-1,2-dichloroethylene (µg/l) | Trans-1,3-dichloropropylene (µg/l) | Trichloroethylene (µg/l) | Trichlorofluoromethane (µg/l) |
| --- | --- | --- | --- | --- | --- |
|  |  | MAC (---) | MAC (---) | MAC (400) | MAC (---) |
| 2020 | Q1 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2020 | Q2 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2020 | Q3 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2020 | Q4 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2020 |  | <0.91 | <0.91 | <0.91 | <0.91 |
| 2021 | Q1 | <2.10 | <2.10 | <2.10 | <2.10 |
| 2021 | Q2 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2021 | Q3 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2021 | Q4 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2021 |  | <1.31 | <1.31 | <1.31 | <1.31 |
| 2022 | Q1 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 | Q2 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 | Q3 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 | Q4 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2022 |  | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q1 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q2 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q3 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2023 | Q4 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2023 |  | <0.91 | <0.91 | <0.91 | <0.91 |
| 2024 | Q1 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2024 | Q2 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2024 | Q3 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2024 | Q4 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2024 |  | <0.64 | <0.64 | <0.64 | <0.64 |
| 2025 | Q1 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2025 | Q2 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2025 | Q3 | <0.50 | <0.50 | <0.50 | <0.50 |
| 2025 | Q4 | <1.05 | <1.05 | <1.05 | <1.05 |
| 2025 |  | <0.91 | <0.91 | <0.91 | <0.91 |

| Timeframe |  | Vinyl Chloride (µg/l) | Xylenes, Total (µg/l) | Zinc (µg/l) |
| --- | --- | --- | --- | --- |
|  |  | MAC (---) | MAC (1400) | MAC (3000) |
| 2020 | Q1 | <0.21 | - | <0.0100 |
| 2020 | Q2 | <0.21 | 3.15 | <0.0100 |
| 2020 | Q3 | <0.10 | 1.78 | <0.0100 |
| 2020 | Q4 | <0.21 | <3.15 | 0.0128 |
| 2020 |  | <0.18 | 2.69* | <0.0107 |
| 2021 | Q1 | <0.42 | <6.30 | 0.0237 |
| 2021 | Q2 | <0.21 | <3.15 | <0.0100 |
| 2021 | Q3 | <0.21 | <3.15 | 0.0260 |
| 2021 | Q4 | <0.21 | <3.15 | <0.0100 |
| 2021 |  | <0.26 | 3.94 | <0.0174 |
| 2022 | Q1 | <0.21 | <3.15 | <0.0100 |
| 2022 | Q2 | <0.21 | <3.15 | 0.0124 |
| 2022 | Q3 | <0.21 | <3.15 | <0.0100 |
| 2022 | Q4 | <0.21 | <3.15 | <0.0100 |
| 2022 |  | <0.21 | <3.15 | <0.0106 |
| 2023 | Q1 | <0.21 | <3.15 | 0.0141 |
| 2023 | Q2 | <0.21 | <3.15 | <0.0100 |
| 2023 | Q3 | <0.21 | <3.15 | <0.0100 |
| 2023 | Q4 | <0.10 | <1.50 | <0.0100 |
| 2023 |  | <0.18 | <2.74 | <0.0110 |
| 2024 | Q1 | <0.21 | <3.15 | 0.0135 |
| 2024 | Q2 | <0.10 | <1.50 | 0.0125 |
| 2024 | Q3 | <0.10 | <1.50 | <0.0100 |
| 2024 | Q4 | <0.10 | <1.50 | <0.0100 |
| 2024 |  | <0.13 | <1.91 | <0.0115 |
| 2025 | Q1 | <0.21 | 3.36 | 0.0350 |
| 2025 | Q2 | <0.21 | <3.15 | 0.0163 |
| 2025 | Q3 | <0.10 | <1.50 | <0.0100 |
| 2025 | Q4 | <0.21 | <3.15 | 0.0176 |
| 2025 |  | <0.18 | <2.79 | <0.0197 |

* No Xylenes, Total sample recorded for 2020 Q1, average based off of Q2-Q4